## Sheet1
Water Testing Results - Myrtle Creek Primary Bldg
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Rm#1 Sink/Fountian |  | 2016-08-05 | 4
Rm #2 Sink/Fountain |  | 2016-08-05 | 5
Rm #3 Sink/Fountain |  | 2016-08-05 | 8
Rm #4 Sink/Fountain |  | 2016-08-05 | 3
Rm #5 Sink/Fountain |  | 2016-08-05 | 5
Rm #6 Sink/Fountain |  | 2016-08-05 | 10
Rm #7 Sink/Fountain |  | 2016-08-05 | 9
Rm #8 Sink/Fountain |  | 2016-08-05 | 4
Rm #9 Sink/Fountain |  | 2016-08-05 | 4
Rm #12 Sink |  | 2016-08-05 | 5
Rm #13 Sink |  | 2016-08-05 | 8
Rm #15 Sink |  | 2016-08-05 | 5
Rm #16 Sink/Fountain |  | 2016-08-05 | 6
Rm #17 Sink/Fountain |  | 2016-08-05 | 8
Library Sink |  | 2016-08-05 | 8
Computer Lab Sink |  | 2016-08-05 | 8
Office Sink |  | 2016-08-05 | 6
Outside Fountain |  | 2016-08-05 | 8
Staff Work Rm Sink |  | 2016-08-05 | 2
Hallway Fountain by Rm #6 |  | 2016-08-05 | 4
Hallway Fountain by Rm #12 |  | 2016-08-05 | 3
Water Testing Results - Myrtle Creek Intermediate Bldg
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Rm #18 Faucet |  | 2016-08-03 | ND
Rm #19 Faucet |  | 2016-08-03 | 6
Rm #20 Faucet |  | 2016-08-04 | 2
Rm #21 Faucet |  | 2016-08-04 | 4
Rm #22 Faucet |  | 2016-08-04 | 3
Rm #23 Faucet |  | 2016-08-04 | 2
Rm #24 Faucet |  | 2016-08-04 | 4
Rm #25 Faucet |  | 2016-08-04 | ND
Rm #27 Faucet |  | 2016-08-03 | ND
Hallway Drinking Fountain |  | 2016-08-03 | ND
Water Testing Results - Skyhawk & MC Annex
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
West Dish Sink |  | 2016-08-08 | 5
South East Sink |  | 2016-08-08 | 5
North East Sink |  | 2016-08-08 | 7
Multi Purpose Room Fountain |  | 2016-08-08 | ND
Annex South Room Sink/Fountain |  | 2016-08-08 | ND
Annex North Room Sink/Fountain |  | 2016-08-08 | ND